# Title Block

# Title 2

## A	Display System

- A new display system will be installed using:

  - One (1) Sony X:X aspect ratio WUXGA XXX Projector with 4K lumen output and standard zoom lens to be mounted using a Chief ceiling mount.

    - The projector will be mounted with a Chief ceiling mount and plenum enclosure to house the video receiver.

    - A Crestron digital video receiver will be installed in the ceiling at the projector location.

    - The projector location will require a dedicated 20A 120VAC circuit

    - The projector location will require a dedicated LAN drop.

- One (1) xxx” x:x Da-Lite ceiling mounted recessed front projection screen with a low voltage controller will be installed.

  - The fabric will be matte white.